C152. Connections on the roof.

Pos. 5. Flue gas connection Ø178mm outside diameter.  Direct connection.

Pos.4. Damper connection, do not connect directly, ventilation breaker is needed.

Direct connection may/will effect baking result negatively

Pos. 6. Evacuation steam/air supply, do not connect directly, ventilation breaker is needed.

Direct connection may/will effect baking result negatively